**Appendix: F**

**Cleaning & Disinfecting**

1. At the end of each session or at least every four hours, discard the unused solutions from the nebulizers. **Do not pour unused solutions back into bottles.**
2. Wipe out the inside of the hood with antibacterial moist wipes or disinfectant wipes between fit tests and at end of the day/testing. Do not use alcohol on plastic window of hood.
3. Take apart nebulizer and wash with dish soap and water. Rinse and let air dry on paper towels or Soak nebulizer parts in 1 part White vinegar and 3 parts water for 15 minutes. Rinse and let air day on paper towels.
4. When dry re-assemble nebulizer

 ****